SEACMS-AI

Smart Equipment Asset & Compliance Management System

User Manual

Karnataka Power Transmission Corporation Limited (KPTCL)

Version 1.0  |  April 2026

# Table of Contents

# 1. System Overview

SEACMS-AI is a web and mobile application built for power utilities to manage the complete lifecycle of electrical equipment testing, maintenance, inspection and repair. It is operated by CogniWatt and deployed for Karnataka Power Transmission Corporation Limited (KPTCL).

The system provides:

- A structured Test Request workflow from creation to final approval

- Four work categories: Test, Maintenance, Inspection, Repair Lifecycle

- Dynamic test result forms driven by configurable templates

- Role-based dashboards for each designation (AEE, EE TLSS, SEE, CEE)

- Real-time notifications and in-app alerts

- Automated Excel and PDF report generation (14 built-in reports)

- Equipment Asset Register with UEIC-based tracking

## 1.1  How to Access the Application

Open the CogniWatt Customer Portal in your browser or on the mobile app. The login URL provided by your system administrator points to the live server.

Login screen fields:

- Email Address — your registered KPTCL email

- Password — your assigned password (change after first login)

After login you are taken to the Home Dashboard matching your role.

# 2. User Roles & Credentials

Every user in the system belongs to exactly one role within the KPTCL organisation. The role determines which screens are visible and which actions are permitted.

| Role | Login Email | What they can do |
| --- | --- | --- |
| Org Admin | orgadmin@kptcl.com | Manage organisation, users, departments, roles, templates, reports |
| Originator | originator@kptcl.com | Create and submit Test Requests; view status of own requests |
| Test Assigner | testassigner@kptcl.com | Review submitted requests; select tester role + user; approve & assign |
| Field Tester | fieldtester1@kptcl.com | Accept assigned jobs; conduct field tests; record results via template form |
| Lab Tester | labtester1@kptcl.com | Accept assigned jobs; conduct lab tests; record results via template form |
| Department Head | depthead@kptcl.com | Review completed test results; approve or reject recommendations |
| Purchaser | purchaser@kptcl.com | View approved recommendations; raise and manage procurement requests |
| AEE Maintenance | aee.maintenance@kptcl.com | Maintenance-focused dashboard; view overdue maintenance; assign maintenance tasks |
| EE TLSS | ee.tlss@kptcl.com | TLSS dashboard; view test compliance, alerts and repair progress |
| SEE W&M | see.wm@kptcl.com | W&M supervisor dashboard; org-wide compliance and KPI view |
| CEE Zone | cee.zone@kptcl.com | Zonal executive dashboard; top-level KPIs across all substations |

## 2.1  Navigation Drawer

After login, tap the menu icon (☰) at the top-left to open the side drawer. The menu items shown depend on your role permissions. Common items:

- Home / Dashboard — your role-specific KPI dashboard

- Test Requests — create, view and manage test requests

- Equipment — view the equipment asset register

- Approvals — pending requests awaiting your action

- Notifications (bell icon) — unread alerts and system messages

- Reports — run and download reports

- Templates — design and configure test forms (Org Admin)

- Organisation — manage users, departments and roles (Org Admin)

# 3. Test Request Categories

Every test request belongs to one of four categories. The category determines the nature of work, the template form shown to the tester, and the workflow path.

| Category | Purpose | Typical Tester | Template Type |
| --- | --- | --- | --- |
| Test | Electrical performance testing of equipment (relays, transformers, CVTs, CTs) | Field Tester | Equipment-specific (relay testing, dielectric test, etc.) |
| Maintenance | Scheduled preventive maintenance checks | Lab Tester / Field Tester | Maintenance checklist with pass/fail items |
| Inspection | Visual and physical condition inspection | Field Tester | Inspection checklist with condition ratings |
| Repair Lifecycle | End-to-end repair tracking from fault to reinstatement | Lab Tester | Repair lifecycle stages with multi-session support |

## 3.1  How to Choose a Category

When creating a new request (see §4), you will see four chips on the form:

- Test — choose when a formal electrical test is required (e.g., relay pickup test, CT ratio test, dielectric test)

- Maintenance — choose for scheduled PM work (e.g., annual transformer maintenance, breaker lubrication)

- Inspection — choose for condition surveys or visual checks without live testing

- Repair Lifecycle — choose when equipment has failed and needs fault diagnosis, repair and reinstatement

The selected category is shown as a coloured chip on every list and detail screen throughout the workflow.

# 4. End-to-End Workflow

A test request passes through up to 8 status stages. Each stage is owned by a different role. The diagram below shows the flow:

| Stage | Status | Performed By | Action |
| --- | --- | --- | --- |
| 1 | Draft | Originator | Create request; fill in equipment, category, priority, description |
| 2 | Submitted | Originator | Tap Submit — sends request for approval |
| 3 | Assigned | Test Assigner | Review request; select tester role and individual; tap Approve & Assign |
| 4 | Accepted | Field / Lab Tester | Open My Assignments; tap Accept to confirm willingness |
| 5 | In Progress | Field / Lab Tester | Tap Start Testing; fill in the template form with readings |
| 6 | Under Approval | Field / Lab Tester | Tap Submit Results — results go to Department Head for review |
| 7 | Approved | Department Head | Review results; tap Approve Recommendation |
| 8 | Procurement (if needed) | Purchaser | Raise procurement request for replacement parts identified in recommendation |

## 4.1  Originator — Creating a Request

Go to: Test Requests → tap the + (Create) button.

### Fields on the Create Form

| Field | Description |
| --- | --- |
| Title | Short name for the work item (e.g., 'CVT Dielectric Test — Zone Bay 3') |
| Description | Detailed scope of work |
| Category | Select one chip: Test / Maintenance / Inspection / Repair Lifecycle |
| Priority | Low / Medium / High / Critical |
| Department | Your zone / substation department from the hierarchy |
| Equipment (UEIC) | Search and select the equipment from the asset register using UEIC code |
| Equipment Type | Auto-filled from selected equipment |
| Transformer Rating | Capacity in MVA (for transformer requests) |
| Manufacturer | Equipment manufacturer name |
| Serial Number | Equipment nameplate serial number |

After filling the form:

- Tap Save Draft to save without submitting (status = Draft)

- Tap Submit to send for approval (status = Submitted)

| TIP | You can edit a Draft anytime. Once Submitted, the request is locked for editing. |
| --- | --- |

## 4.2  Test Assigner — Approving & Assigning

Go to: Test Requests → Approvals → Pending.

You will see all submitted requests waiting for assignment.

### Approve & Assign Flow

- Tap a request to open its detail view

- Review the equipment, description and priority

- Tap Approve & Assign

- Step A — Select Tester Role: a list of eligible tester roles appears (Field Tester / Lab Tester). Roles are filtered based on the required module permissions configured by the Org Admin

- Step B — Select Tester User: a list of available users for that role is shown, sorted by current workload (least busy first)

- Add an optional comment and tap Confirm

The request status changes to Assigned and the selected tester receives a notification.

| NOTE | If no tester roles appear in Step A, contact the Org Admin to verify that the tester role module permissions are correctly configured. |
| --- | --- |

## 4.3  Field Tester / Lab Tester — Conducting the Test

Go to: Test Requests → My Assignments (tab: Assigned To Me).

### Accept the Assignment

- Tap the assigned request

- Tap Accept — status changes to Accepted

### Start Testing

- Tap Start Testing — status changes to In Progress

- The test result form appears — its fields are driven by the template configured for this request category and equipment type (see §5 for template details)

- Fill in all required fields (marked with *)

- For table-type fields, add rows by tapping + Row

- Attach photos if required using the camera icon

- Tap Save to save a draft of results (you can return later)

### Submit Results

- Once all readings are complete, tap Submit Results

- A recommendation is automatically generated based on the overall result (Pass / Fail / Conditional)

- Status changes to Under Approval

| TIP | For Repair Lifecycle requests with multi-session support, you can record multiple test sessions over different days before the final submit. |
| --- | --- |

## 4.4  Department Head — Reviewing Results

Go to: Approvals → Test Result Approvals.

- Tap the request under review

- Review the results submitted by the tester, including all readings, photos and the auto-generated recommendation

- Choose one of:

  - Approve — marks the recommendation as Approved; status = Approved

  - Reject — enter a rejection reason; request goes back to tester

Upon approval, the Purchaser is notified if replacement parts are recommended.

## 4.5  Purchaser — Procurement

Go to: Procurement (side menu).

Approved recommendations with replacement products appear as pending procurement items.

- Open the procurement request

- Review the recommended replacement equipment

- Tap Initiate Procurement to log the procurement action

- When parts are received and installed, tap Mark Complete

# 5. Template System

Templates define the dynamic form that a tester sees when recording results. Each template is a JSON structure of sections and fields. The system ships with global default templates; the Org Admin can customise them per organisation.

## 5.1  How Templates Are Selected

When a tester opens a test request to fill in results, the system picks the template using this priority order:

- Org-specific template for the exact test type (if the Org Admin has customised it)

- Global default template for the test type

- Org-specific template for the request category (maintenance / inspection / repair_lifecycle)

- Global default template for the category

If no template is found, the tester sees a free-text results form.

## 5.2  Global Default Templates

The following templates are built into the system:

| Template Key | Name | Equipment / Category |
| --- | --- | --- |
| relay_testing_report | Relay Testing Report | Feeder protection relays |
| differential_protection_test | Differential Protection Test | Power transformers |
| stability_bias_test | Stability / Bias Test | Transformer differential relay |
| protection_relay_functional_test | Protection Relay Functional Test | Protection relays |
| dielectric_test_report | Dielectric Strength Test | Transformer oil / insulation |
| ct_ratio_test | CT Ratio & Accuracy Test | Current Transformers (CT) |
| cvt_test_report | CVT Test Report | Capacitor Voltage Transformers |
| breaker_maintenance | Circuit Breaker Maintenance | Category: Maintenance |
| transformer_maintenance | Transformer Maintenance Checklist | Category: Maintenance |
| substation_inspection | Substation Inspection Checklist | Category: Inspection |
| equipment_inspection | Equipment Condition Inspection | Category: Inspection |
| repair_lifecycle_report | Repair Lifecycle Report | Category: Repair Lifecycle |
| overall_assessment | Overall Assessment | Appended to all templates |

| NOTE | The Overall Assessment template is automatically appended to the end of every template form. It includes a Remarks textarea and an Overall Result dropdown (Pass / Fail / Conditional / Retest). |
| --- | --- |

## 5.3  Template Field Types

Each field in a template section has a type that determines how it renders in the UI:

| Field Type | UI Control | Typical Use |
| --- | --- | --- |
| text | Single-line text box | Equipment serial number, manufacturer name |
| number | Numeric input with optional unit | Measured values (voltage kV, current A, resistance Ω) |
| dropdown | Select from list | Result (Pass/Fail), curve type, protection function |
| boolean | Toggle switch (Yes / No) | Trip circuit healthy, relay stable |
| checkbox | Tick-box checklist item | Maintenance checklist items (cleaned, lubricated, tightened) |
| textarea | Multi-line text area | Observations, remarks, fault description |
| date | Date picker | Test date, last maintenance date |
| table | Data grid with multiple rows and columns | Relay bias readings, winding resistance at multiple taps |

Required fields are marked with a red asterisk (*). Read-only fields are shown with an orange padlock icon — they contain pre-filled reference data that cannot be edited.

## 5.4  Customising Templates (Org Admin)

Go to: Template Designer (side menu → Test Templates).

- Select an existing template or tap + New Template

- Add, reorder or delete sections using the section panel

- Within each section, add fields by choosing the field type and setting:

  - Label — display name shown to the tester

  - Key — unique identifier stored in the result JSON

  - Unit — measurement unit appended to the value (optional)

  - Required — whether the tester must fill this field

  - Default Value — pre-populated value for convenience

  - Options — dropdown choices (for dropdown fields)

- Tap Save to persist the template

- Tap Preview to see the HTML rendering of the form

- Tap Reset to revert to the global default

| TIP | After customising, tap Provision → Org to push the template to all future requests for your organisation. |
| --- | --- |

# 6. Scenario Walkthroughs

This section walks through four complete scenarios — one for each test category — showing exactly what each user sees and does in the application.

## 6.1  Scenario: CVT Dielectric Test (Category: Test)

Equipment: Capacitor Voltage Transformer (CVT) at Zone Substation Bay 3.

Goal: Verify that the CVT insulation meets dielectric strength specifications.

### Step 1 — Originator Creates the Request

Screen: Test Requests → Create (+)

- Title: CVT Dielectric Test — Zone Bay 3

- Category: Test (tap the Test chip)

- Equipment: search UEIC ZO-1A-066-01-CV-01 and select

- Priority: High

- Description: Scheduled dielectric test as per KPTCL annual maintenance plan

- Tap Submit

The request is now visible in Pending Approvals.

### Step 2 — Test Assigner Approves & Assigns

Screen: Approvals → Pending → Open TR-2026XXXX

- Taps Approve & Assign

- Role: selects Field Tester

- User: selects KPTCL Field Tester One (fieldtester1@kptcl.com) — workload: 0 active jobs

- Comment: Please complete before 30-Apr

- Taps Confirm → status = Assigned

### Step 3 — Field Tester Conducts the Test

Screen: Test Requests → My Assignments → open request

- Taps Accept → status = Accepted

- Travels to substation with test kit

- Taps Start Testing → status = In Progress

Template shown: CVT Test Report — Sections:

  - CVT Nameplate Details: serial, ratio, class, manufacturer

  - Insulation Resistance Test: IR values phase-to-earth at 1kV, 5kV, 10kV (number fields, unit: MΩ)

  - Capacitance & tan-δ Test: measured vs standard values (table field)

  - Electromagnetic Unit Test: ratio error, phase displacement (number fields)

  - Overall Assessment: Remarks (textarea), Overall Result dropdown (Pass/Fail/Conditional/Retest)

- Tester fills all readings; selects Overall Result = Pass

- Taps Submit Results → status = Under Approval

### Step 4 — Department Head Approves

Screen: Approvals → Test Result Approvals → open request

- Reviews all readings and the Pass recommendation

- Taps Approve → status = Approved

- Notification sent to Originator: Request TR-2026XXXX has been approved

## 6.2  Scenario: Transformer Preventive Maintenance (Category: Maintenance)

Equipment: 100 MVA Power Transformer at Zone Substation.

Goal: Complete annual preventive maintenance and record all check items.

### Step 1 — Originator Creates the Request

- Category: Maintenance

- Title: Annual PM — 100 MVA Transformer — Zone-1A

- Equipment: select UEIC of the transformer

- Priority: High

- Taps Submit

### Step 2 — Test Assigner Assigns to Lab Tester

- Role: Lab Tester (maintenance work requires lab-standard checks)

- User: labtester1@kptcl.com

- Comment: Coordinate with substation staff for outage

### Step 3 — Lab Tester Fills the Maintenance Checklist

Template shown: Transformer Maintenance Checklist — Sections with checkbox fields:

  - Oil System: oil level checked ☑, oil sample taken ☑, oil BDV > 60kV ☑, oil colour normal ☑

  - Cooling System: radiator fins cleaned ☑, fans operational ☑, temperature indicators checked ☑

  - Bushings: bushing IR measured (number: MΩ), cracks/damage (boolean: None), clamps tightened ☑

  - On-Load Tap Changer: OLTC operation checked ☑, contact resistance (number: mΩ)

  - Protection Devices: Buchholz relay tested ☑, PRD tested ☑, WTI/OTI calibrated ☑

  - Overall Assessment: Remarks + Result (Pass / Conditional)

### Step 4 — Recommendation

Auto-generated: Conditional — Bushing IR low (150 MΩ, threshold 200 MΩ). Monitor quarterly.

- Department Head reviews and Approves with note: Replace bushings at next planned outage

## 6.3  Scenario: Substation Equipment Inspection (Category: Inspection)

Goal: Annual visual condition survey of all HV equipment in Zone 1A substation.

### Step 1 — Originator Creates the Request

- Category: Inspection

- Title: Annual Inspection — Zone 1A Substation

- Priority: Medium

- Taps Submit

### Step 2 — Assigned to Field Tester

- Field Tester visits substation and inspects each item

### Step 3 — Field Tester Fills Inspection Checklist

Template shown: Substation Inspection Checklist — Sections:

  - Outdoor Equipment: condition rating dropdown (Good / Fair / Poor / Critical), observations textarea

  - Control Room: safety earthing checked ☑, instruments calibrated ☑, alarm annunciator tested ☑

  - Fencing & Civil: fencing intact ☑, gates locked ☑, drainage clear ☑, fire extinguishers valid ☑

  - Photographs: attach photos of any defective items using camera icon

  - Overall Assessment: Remarks + Result

### Step 4 — Flagged Equipment

If any item is rated Poor or Critical, it is automatically flagged in the equipment register and appears in the Flagged Equipment dashboard widget.

## 6.4  Scenario: Feeder Relay Fault & Repair (Category: Repair Lifecycle)

Equipment: IDMT Relay — Zone 1A Bay 5. Reported malfunction: relay not tripping on fault current.

Goal: Diagnose, repair and reinstate the relay with full audit trail.

### Step 1 — Originator Logs the Fault

- Category: Repair Lifecycle

- Title: Relay Malfunction — Zone 1A Bay 5

- Priority: Critical

- Description: Relay failed to trip during simulated fault test on 18-Apr-2026

- Taps Submit → enters workflow

### Step 2 — Lab Tester Assigned

- Test Assigner selects Lab Tester role → labtester1@kptcl.com

### Step 3 — Multi-Session Fault Diagnosis & Repair

The Repair Lifecycle template supports multiple sessions:

- Session 1 (Day 1): Fault diagnosis — relay current injection test; measured pickup = 3.2A vs set 2.0A; overcurrent element faulty

- Session 2 (Day 3): Relay sent to lab; coil replaced; bench tested at correct pickup

- Session 3 (Day 5): Relay reinstated in panel; site functional test conducted; trip time 0.32s at 2x

Each session has its own date, readings and remarks. All sessions are combined in the final report.

### Step 4 — Submit & Approve

- Lab Tester submits results: Overall Result = Pass (after repair)

- Department Head reviews repair history and approves

- Equipment status updated to Active in the Asset Register

# 7. Role-Specific Dashboards

After login, each user sees a dashboard tailored to their designation. All dashboards connect to live data from the backend.

## 7.1  KPI Cards (All Roles)

The top section of every dashboard shows KPI cards:

| KPI Card | What It Shows |
| --- | --- |
| Test Compliance Rate | Percentage of scheduled tests completed on time |
| Overdue Tests | Number of test requests past their due date |
| ALERT / CRITICAL Flags | Equipment items flagged as Alert or Critical from inspections |
| Open Remediation Records | Fault/defect records awaiting corrective action |
| Maintenance Compliance | Percentage of scheduled maintenance completed |
| TA&QC Compliance | Testing, Assurance & Quality Control completion rate |

## 7.2  Designation-Specific Dashboard Views

| Role | Dashboard Name | Key Widgets |
| --- | --- | --- |
| AEE Maintenance | AEE Dashboard | Overdue maintenance, today's schedule, equipment under repair, maintenance calendar |
| EE TLSS | EE TLSS Dashboard | Test compliance, active alerts, overdue tests, repair progress, tester workload |
| SEE W&M | SEE Dashboard | Org-wide KPIs, flagged equipment, procurement pipeline, open remediation |
| CEE Zone | CEE Dashboard | Zone-level summary: all KPIs, compliance trends, critical equipment status |
| Org Admin | Field Dashboard | All widgets + cache invalidate, user/role counts |
| Originator / Test Assigner / Tester / Dept Head | Field Dashboard | My active requests, pending actions, recent notifications |

# 8. Notifications

The system sends in-app notifications automatically as the request moves through each stage. A red badge on the bell icon shows the unread count.

| Event | Who Gets Notified |
| --- | --- |
| Request submitted | Test Assigner |
| Request approved & assigned | Field Tester / Lab Tester, Originator |
| Tester accepts assignment | Originator, Test Assigner |
| Results submitted (under approval) | Department Head, Originator |
| Recommendation approved | Originator, Purchaser (if replacement needed) |
| Recommendation rejected | Tester (to revise results) |
| Procurement raised | Org Admin |
| Overdue test alert (daily 07:00) | Test Assigner, Department Head, Org Admin |

Tap the bell icon → Notifications to see all past notifications. Tap Mark All as Read to clear the badge.

# 9. Reports

Go to: Reports (side menu). The system has 14 built-in reports. All users with report access can run any report on demand.

| Report Name | Frequency | Description |
| --- | --- | --- |
| Active Alerts | Daily | Equipment items with active Alert/Critical flags |
| Compliance Status by Substation | Monthly | Test and maintenance compliance per substation |
| Equipment Condition Summary | On Demand | Overall health summary of all registered equipment |
| Flagged Equipment | Weekly | Equipment flagged as defective or critical |
| Maintenance Overdue | Daily | Scheduled maintenance items past due date |
| Monthly KPI Summary | Monthly | All 6 KPI cards with trend vs prior month |
| Open Remediation Records | On Demand | Faults/defects awaiting corrective action |
| Overdue Tests | Daily | Test requests past their target completion date |
| Procurement Pipeline | Weekly | Approved recommendations pending procurement |
| Recommendation Approvals | On Demand | History of approved/rejected recommendations |
| Repair Lifecycle Progress | On Demand | Active repair requests with current stage and age |
| Test Results Summary | Weekly | Summary of all test results by pass/fail/conditional |
| Tester Performance | Monthly | Workload and on-time completion rate per tester |
| Testing Request Status | On Demand | Full list of all requests with current status |

### Running a Report

- Tap the report name

- Select format: Excel (.xlsx) or PDF

- Tap Run Report

- The file downloads automatically to your device

# 10. Equipment Asset Register

Go to: Equipment (side menu). The register holds all KPTCL electrical equipment identified by a unique UEIC code.

## 10.1  UEIC Code Format

UEIC (Unique Equipment Identification Code) follows the pattern:

| FORMAT | ZO-{Zone}-{Voltage}-{Bay}-{Type}-{Seq} Example: ZO-1A-066-01-PT-01 |
| --- | --- |

## 10.2  Adding Equipment (Originator / Org Admin)

- Tap + (Add Equipment)

- Fill: Equipment Type, Voltage Class, Bay Number, Zone, Manufacturer, Rating, Nameplate Data

- UEIC is auto-generated by the system

- Tap Save — equipment is now available for selection in test requests

## 10.3  Equipment Status

| Status | Meaning |
| --- | --- |
| Active | In service, available for normal operation |
| Under Repair | Taken out of service for fault rectification (set during Repair Lifecycle) |
| Retired | Permanently withdrawn from service |
| Scrapped | Disposed of |

# 11. Test Register

The Test Register (SRS §5.1.1) is the master catalogue of mandatory periodic tests and maintenance tasks for each equipment type. When a new piece of equipment is commissioned, SEACMS-AI automatically clones all matching active register entries into live scheduled requests for that unit. EE TLSS officers and Administrators manage this catalogue; all other roles can view it.

## 11.1  Opening the Test Register

From the navigation drawer select Test Register, or tap the Test Register quick-action tile on the EE TLSS Dashboard. The page opens with two tabs: Catalogue and Equipment Schedules.

## 11.2  Catalogue Tab — Viewing Templates

Templates are grouped by equipment type. Each card shows:

- Title & description — e.g. “Dissolved Gas Analysis”

- Frequency badge — Monthly / Quarterly / Semi-Annual / Annual / Biennial / Triennial

- Next run date (inherited by each commissioned unit)

- ALERT override interval — shorter interval applied after an ALERT result

- OEM Reference / Standard — e.g. IS 10593, IEC 60422

- Responsible role and reviewing role assigned for the test

Use the search bar or the All Equipment Types drop-down to filter the catalogue.

## 11.3  Creating & Editing Templates (EE TLSS / Admin)

Only users with roles EE TLSS, Department Head, or Admin can create, edit, or deactivate entries.

### Create a new template

- Tap the + Add Template floating button (Catalogue tab).

- Select Equipment Type, enter a Title, select a Frequency, and set a First Run Date (mandatory). Optionally add an ALERT override interval, OEM reference, responsible role, and reviewing role.

- Tap Create to save. The template immediately becomes available for commissioning.

### Edit a template

Tap Edit on any template card. Equipment Type cannot be changed after creation. All other fields are editable. Tap Save Changes to commit.

### Deactivate a template

Tap Deactivate on a template card and confirm the prompt. The template is marked inactive and will not be cloned for future commissionings. Existing live schedules for already-commissioned equipment are not affected.

## 11.4  Equipment Commissioning & Auto-Scheduling

When a new equipment unit is added via the Equipment module, SEACMS-AI automatically checks the Test Register for all active templates matching the equipment type. For each match a live TestingRequest and a TestRequestSchedule are created. No manual action is required; the scheduler starts tracking the next due date immediately.

## 11.5  Equipment Schedules Tab — Viewing Live Schedules

Switch to the Equipment Schedules tab to see all registered equipment units. Tap Schedules on any row to open a pop-up showing all active periodic schedules for that unit. Overdue items are highlighted in red with the number of days overdue.

## 11.6  ALERT Reschedule

When a test evaluation returns an ALERT result, the system automatically reschedules the next test using the template’s ALERT override interval (if set) or falls back to the standard frequency. The new next-run date is visible in the Equipment Schedules pop-up. EE TLSS is notified via the Alerts Feed on the dashboard.

# 12. Organisation Admin Tasks

The Org Admin manages all organisational configuration. These tasks are accessed under Organisation (side menu).

## 12.1  Managing Users

- Go to Organisation → Users → + Add User

- Fill name, email, employee ID, department and role

- The user receives a welcome email with login credentials

- To deactivate a user: open their record → toggle Active to Off

## 12.2  Managing Departments

- Go to Organisation → Departments

- Departments are hierarchical: Zone → Circle → Division → Sub-Division → Substation

- Tap + Sub-Department to add a child department

## 12.3  Managing Roles & Permissions

- Go to Organisation → Roles

- Each role has a permission matrix: can_view, can_add, can_edit, can_delete, can_approve, can_assign per module

- Tester roles must have FULL permissions on the configured tester modules to appear in the assigner's role selection

- Tap Edit Permissions on any role to modify the permission matrix

## 12.4  Configuring Tester Role Module Requirements

The Tester Role Module Requirement defines which permission modules a role must fully possess to qualify as an eligible tester. Contact the system administrator to configure this via the backend if the default configuration needs updating.

# 13. Quick Reference

## 13.1  Request Status Reference

| Status | Colour | Meaning |
| --- | --- | --- |
| Draft | Grey | Created but not submitted |
| Submitted | Blue | Submitted, awaiting assigner review |
| Assigned | Teal | Tester selected and notified |
| Accepted | Cyan | Tester has confirmed acceptance |
| In Progress | Amber | Tester actively recording results |
| Under Approval | Orange | Results submitted, awaiting dept head review |
| Approved | Green | Results approved — request complete |
| Rejected | Red | Rejected at approval stage — requires rework |
| Procurement Initiated | Purple | Parts procurement raised |
| Completed | Dark Green | Full lifecycle complete including procurement |

## 13.2  Common FAQs

Q: I cannot see the Approve & Assign button on a request.

A: Only users with the Test Assigner role can approve requests. Verify your role with the Org Admin.

Q: No tester roles appear when I try to assign.

A: The tester role must have full permissions (view, add, edit, delete, approve, assign) on all required tester modules. Ask the Org Admin to verify the role permissions.

Q: The template form is empty / shows no fields.

A: The global templates may not have been provisioned yet. Ask the Org Admin to go to Templates → Provision Global.

Q: My notification count is stuck.

A: Tap the bell icon → Mark All as Read. If the count persists, log out and log back in.

Q: I cannot find equipment when creating a request.

A: Equipment must be registered in the Asset Register first. Contact the Originator or Org Admin to add the equipment.

For technical support, contact the system administrator at CogniWatt: support@cogniwatt.com