SEACMS

SubStation Equipment and Asset Condition Monitoring System

Multi-Session Testing

User Manual

Karnataka Power Transmission Corporation Limited (KPTCL)

Research, Testing & R&D Division

| Version | 1.0 |
| --- | --- |
| Date | April 2026 |
| Audience | KPTCL Field Staff |

# 1. Introduction

SEACMS (SubStation Equipment and Asset Condition Monitoring System) enables KPTCL field engineers to manage the full lifecycle of equipment testing — from raising a request through to PDF report generation and procurement.

Multi-session testing is a key capability that allows a tester to record measurements across multiple sittings — for example, morning and afternoon readings on the same day, or readings taken over several days — without losing earlier data. Each save operation is automatically tracked as a numbered session so that supervisors and approvers can see exactly how many times the equipment was measured and when.

## 1.1  What is a Session?

A session is automatically created every time the tester clicks Save (or Save & Submit) in the test result form. Sessions are stamped with:

- Session number (1, 2, 3 …)

- Date and time of the save

- Template used (e.g. insulation_resistance_test)

- Name of the tester who performed the save

NOTE: Each new save overwrites the stored test data with the latest readings, but a permanent session audit record is created. This means the final submitted result is always the most recent save.

## 1.2  Why Multi-Session?

- Equipment like transformers requires readings at different temperatures or load conditions.

- IEC standards sometimes mandate a 1-minute and 10-minute insulation resistance (and the Polarisation Index requires both).

- Engineers may need to leave and return to site between measurements.

- Supervisors need an audit trail showing how many sets of readings were taken before results were finalised.

## 1.3  Calculated Fields

Certain columns in the test form are automatically computed from other columns. You cannot type into them; they update instantly when related values change.

| Calculated Field | Formula | Example |
| --- | --- | --- |
| PI Value (Polarisation Index) | IR (10 min) / IR (1 min) | 450 MΩ / 250 MΩ = 1.80 |

# 2. Roles and Responsibilities

Five roles are involved in the multi-session testing workflow. Each role has a specific set of actions available in the UI.

| Role | Login (KPTCL) | Responsibilities | Key Actions in UI |
| --- | --- | --- | --- |
| Originator | originator@kptcl.com | Creates & submits testing requests | Draft, Submit |
| Test Assigner | testassigner@kptcl.com | Reviews requests, approves, assigns tester | Approve & Assign |
| SEE RT / Tester | see.rt@kptcl.com | Performs tests, saves sessions, submits | Accept, Start, Enter Data, Submit |
| Result Approver | orgadmin@kptcl.com | Reviews submitted results, approves/rejects | Approve / Reject results |
| AEE Maintenance | aee.maintenance@kptcl.com | Dashboard view: assignments + session counts | Monitor only |
| EE TLSS | ee.tlss@kptcl.com | High-level compliance & test KPI dashboard | Monitor only |

NOTE: A single person may hold more than one role. For example, an SEE RT may also review results in some organisations.

# 3. Workflow Status Flow

Every testing request moves through the following statuses. The current status is always shown as a coloured badge at the top of the Request Detail page.

| Status | Responsible Role | What It Means | Next Action |
| --- | --- | --- | --- |
| draft | Originator | Request created, not yet submitted | Submit request |
| submitted | Test Assigner | Awaiting review and tester assignment | Approve & Assign tester |
| assigned | Tester | Tester has been assigned | Accept assignment |
| accepted | Tester | Tester acknowledged, not yet started | Start Testing |
| in_progress | Tester | Tester actively entering measurements | Save sessions (repeat) then Submit |
| under_approval | Result Approver | Results submitted, awaiting final sign-off | Approve or Reject results |
| approved | Originator | Results approved; replacement parts visible | Initiate procurement (if needed) |
| procurement_initiated | Purchaser | Procurement order raised | Complete purchase |
| completed | All | Request fully closed | - |

WARNING: The in_progress status is the only status where the tester can save multiple sessions. Once Submit Results is clicked the status moves to under_approval and no further sessions can be added.

# 4. Creating a Testing Request  (Originator)

ROLE: Originator — originator@kptcl.com

## 4.1  Navigate to New Request

- Log in to SEACMS with your originator credentials.

- In the left sidebar, click Testing Requests.

- Click the + New Request button (top-right corner of the list page).

## 4.2  Fill in the Request Form

The new-request form has the following key fields:

| Field | Description | Required? |
| --- | --- | --- |
| Title | Short description of the test (e.g. 'CT Insulation Test — Substation 112') | Yes |
| Equipment Type | Select the type of equipment to be tested (e.g. Current Transformer, CVT, Circuit Breaker) | Yes |
| Test Type | Pick the specific test from the dropdown (options depend on Equipment Type selected) | Yes |
| Priority | Low / Medium / High — affects the colour coding in the approver view | Yes |
| Request Category | Maintenance / Inspection / Repair Lifecycle | Yes |
| Due Date | Target completion date for the test | Yes |
| Description | Additional context for the tester and approver | Optional |

- Fill in all required fields.

- Click Save as Draft to save without submitting, or click Submit to send the request for approval immediately.

TIP: You can edit a Draft request at any time before submitting. Once submitted, edits are no longer allowed.

# 5. Approving and Assigning a Tester  (Test Assigner)

ROLE: Test Assigner — testassigner@kptcl.com

## 5.1  Finding Pending Requests

- Log in as Test Assigner.

- Go to Testing Requests in the sidebar.

- Submitted requests appear with a blue Submitted badge. Click a request to open the detail view.

## 5.2  Approving and Assigning in One Step

- In the request detail, scroll to the Action Buttons section.

- Click Approve & Assign.

- A dialog appears. First select the Tester Role from the dropdown (e.g. SEE RT).

- The list of users in that role loads automatically. Select the specific tester (e.g. see.rt@kptcl.com).

- Optionally add a comment for the tester.

- Click Confirm. The request status changes to assigned and the tester receives a notification.

NOTE: Only roles that have full testing permissions appear in the Tester Role dropdown. If a role is missing, contact your system administrator to review role permissions.

## 5.3  Rejecting a Request

If the request is incomplete or incorrectly raised:

- Click Reject in the action section.

- Enter a rejection reason.

- Click Confirm. The status changes to rejected and the originator is notified.

# 6. Entering Test Results  (Tester -- Multi-Session)

ROLE: Tester — see.rt@kptcl.com  (or any role with Testing module access)

This section covers the full tester journey — from accepting the assignment through to submitting the final results after multiple measurement sessions.

## 6.1  Accept the Assignment

- Log in as the assigned tester.

- Navigate to My Assignments in the sidebar (this shows only your assigned tests).

- Find the request (status: assigned). Click to open it.

- Click the Accept button. The status changes to accepted.

TIP: Accepting confirms you have received the assignment. You can still delay starting the actual test.

## 6.2  Start Testing

- When you are ready to begin measurements on site, click Start Testing.

- The status changes to in_progress. The clock is now running — your supervisor can see the request is active.

## 6.3  Enter Test Results — Session 1

- Click Enter Test Results. The dynamic test form opens based on the template linked to the test type.

- Complete the header fields (Equipment Make, Serial Number, Test Voltage, Temperature, Humidity, etc.).

- In the IR Readings table, enter IR at 1 minute and IR at 10 minutes for each measurement point.

TIP: The PI Value column calculates automatically: PI = IR(10 min) / IR(1 min). You do not need to enter it — it updates as you type.

- Select the Row Result for each row (Pass / Fail).

- Add Overall Remarks for this session.

- Click Save (not Submit) to save the session and return to the assignment list.

A Session 1 record is now created automatically in the background. The AEE dashboard will show session_count = 1.

## 6.4  Add More Sessions (Repeat as Needed)

If you need to take further readings (e.g. afternoon measurements, next-day readings, or readings after temperature stabilisation):

- Return to My Assignments.

- Open the same request (status remains in_progress).

- Click Enter Test Results again.

- The form pre-fills with the data from your last save. Update the readings with the new values.

- Click Save. A new session record (Session 2, Session 3, …) is created.

NOTE: You can save as many sessions as needed. The final submitted result is always the last saved version. All session timestamps are preserved in the audit trail.

## 6.5  Check Column Summaries

At the bottom of the IR Readings table, summary rows show aggregate statistics across all table rows in the current session:

- AVG IR (1 min)   — average of all 1-minute readings

- AVG IR (10 min)  — average of all 10-minute readings

- AVG PI Value     — average polarisation index across all measurement points

TIP: A PI value consistently above 2.0 is considered excellent insulation. Values between 1.5 and 2.0 are satisfactory. Below 1.5 indicates attention required.

## 6.6  Submit Final Results

When you are satisfied that all required measurements have been taken:

- Open the request from My Assignments.

- Click Enter Test Results and review the data one final time.

- Click Save & Submit (the green button). A confirmation dialog appears.

- Confirm submission. The status changes to under_approval.

WARNING: Once you click Save & Submit, no further sessions can be added. The results are locked for review by the approver.

# 7. Reviewing and Approving Results  (Result Approver)

ROLE: Result Approver — orgadmin@kptcl.com  (or designated approver role)

## 7.1  Finding Results Pending Approval

- Log in as the Result Approver.

- Navigate to Approvals in the sidebar. Requests in under_approval status appear here.

- Click on a request to open the Approval Detail view.

## 7.2  Reviewing Sessions

The request detail shows a Session Timeline panel (visible once the status is in_progress or later):

- Number of sessions completed

- Date and time of each session

- Template used in each session

- Name of the tester who saved each session

Click the panel header to expand it and see the full list.

## 7.3  Reviewing the PDF Report

- In the Approval Detail view, click Download PDF Report.

- The PDF includes all test data from the final submitted session, plus:

  - Column summary row (Average PI, Average IR1, Average IR10) at the bottom of each table

  - Recommendation text based on the test outcome

  - Tester details and submission timestamp

## 7.4  Approve or Reject

- If the results are satisfactory, click Approve Results.

- If the results need re-testing or correction, click Reject Results and enter a reason.

Approval: Status moves to approved. The originator can now see recommended replacement parts (if any).

Rejection: Status moves to rejected. The tester is notified and can resubmit after corrections.

# 8. Session Timeline in Request Detail

All users with access to the testing request detail page can see the Session Timeline panel. It appears automatically once the request has at least one saved session (status in_progress or later).

## 8.1  How to Find It

- Open any testing request (Testing Requests list > click a request).

- Scroll down to find the Session Timeline section.

- Click the panel header (shows session count and last session date) to expand.

## 8.2  What You See

The panel header (collapsed) shows:

- Total session count  e.g. 3 sessions

- Last session date  e.g. Last: 21 Apr 2026

When expanded, each session is shown as a timeline row:

| # | Date & Time | Template | Status | Tester |
| --- | --- | --- | --- | --- |
| 1 | 21 Apr 2026 09:00 | insulation_resistance_test | completed | see.rt@kptcl.com |
| 2 | 21 Apr 2026 13:30 | insulation_resistance_test | completed | see.rt@kptcl.com |
| 3 | 21 Apr 2026 16:45 | insulation_resistance_test | completed | see.rt@kptcl.com |

NOTE: Sessions are read-only in the timeline. To add another session, the tester must re-open Enter Test Results from My Assignments.

# 9. Dashboard Views

Each role has a dedicated dashboard that refreshes automatically. The dashboards show live data — no manual refresh is required.

| Dashboard | KPI Cards Shown | Session-Specific Info |
| --- | --- | --- |
| AEE Maintenance | Pending Approvals, Assigned Tests, Equipment Units, Maintenance Due | Assignments list with session count badge and last session date |
| SEE RT (Tester) | My Assignments list | Uses My Assignments page; not a dedicated KPI dashboard |
| EE TLSS | Test Compliance %, Overdue Tests, Alert/Critical items, Open Remediation, Maintenance Completion | Shows open_remediation count increases when results are submitted |
| CEE Zone | Pending Requests, Active Tests, Pending Approvals, Completed This Month | High-level zone-wide view |

## 9.1  AEE Maintenance Dashboard — Session Badge

The AEE dashboard Assignments list is the primary place to see multi-session tracing at a glance. Each assignment card shows:

- Status chip  (Submitted / In Progress / Under Approval / etc.)

- Due date

- Session count badge  e.g.  3 sessions

- Last session date  e.g.  Last: 21 Apr 2026

Once the tester submits results, the assignment moves out of In Progress and the session count is preserved for reference.

## 9.2  EE-TLSS Dashboard — Compliance KPIs

After results are submitted, the EE-TLSS dashboard shows:

- Open Remediation  — increments when a new recommendation is created at result submission

- Test Compliance %  — based on completed tests vs. total scheduled

- Overdue Tests  — requests past their due date

# 10. Quick Reference

## 10.1  Multi-Session Checklist for Testers

|  | Action | Status After |
| --- | --- | --- |
| [ ] | Accept the assignment | accepted |
| [ ] | Click Start Testing on site | in_progress |
| [ ] | Enter Session 1 readings and click Save | in_progress (1 session) |
| [ ] | Re-open and enter Session 2, click Save | in_progress (2 sessions) |
| [ ] | Re-open and enter Session 3, click Save | in_progress (3 sessions) |
| [ ] | Final review, click Save & Submit | under_approval |

## 10.2  Common Questions

| Question | Answer |
| --- | --- |
| Can I edit data from a previous session? | No. Each Save creates a new session. The form always pre-fills from the latest save, so you update the current values and save again. |
| What if I accidentally click Save & Submit? | Contact your Test Assigner to reject the results so you can re-enter and resubmit. |
| Can two testers work on the same request? | Only one tester is assigned at a time. If the assignment needs to change, the Test Assigner must re-assign. |
| Where is the PI value entered? | It is calculated automatically. You only enter IR (1 min) and IR (10 min); PI = IR10 / IR1. |
| What if the session count shows 0 on the AEE dashboard? | The tester has not saved any results yet. Once they click Save, the count updates. |
| How long is session history kept? | Sessions are stored permanently as part of the testing request audit trail. |

# 11. Glossary

| Term | Definition |
| --- | --- |
| AEE | Assistant Executive Engineer — Maintenance supervisor role in KPTCL |
| EE TLSS | Executive Engineer — Testing, Laboratory and Sub-Station Services |
| SEE RT | Superintending Engineer — Research & Testing; a senior tester role |
| IR | Insulation Resistance — measured in Mega-ohms (MΩ) at 1 min and 10 min |
| PI | Polarisation Index — IR(10 min) / IR(1 min); measures insulation quality |
| Session | An auto-created audit record generated every time the tester saves test data |
| in_progress | Request status when the tester has started testing; multiple saves are allowed |
| under_approval | Status after the tester clicks Save & Submit; awaiting approver sign-off |
| SEACMS | SubStation Equipment and Asset Condition Monitoring System — the KPTCL portal |
| Column Summary | An aggregate row at the bottom of a table field showing AVG / SUM / MIN / MAX |

End of Document

SEACMS Multi-Session Testing User Manual  |  KPTCL  |  April 2026  |  v1.0